#13 pH-Titration of Weak Acids with Strong Bases

___________________________________________________________________________

Purpose: A weak acid solution is titrated with a strong base solution.  A titration curve is then used to identify the unknown acid and to find its concentration.

Introduction

A pH-meter will be used to follow the titration of an unknown weak acid, HA(aq) with sodium hydroxide, NaOH(aq).

HA (aq)   +   NaOH(aq)     NaCl(aq)  +   H2O

The weak acid will have a concentration around 0.1 M. The result of the pH vs vol. NaOH plot is an "S" shaped curve which is not as steep as the one arising from titration of a strong acid. The equivalence point this time will be at an alkaline pH (not 7 as in strong acid vs strong base).  From the equivalence point, the concentration of the unknown acid, HA is found.   In addition the acid constant Ka can be determined.

HA  +  H2O  =   H3O+  +  A-

##### Ka = [H3O+] [A-]

[HA]

From the value of Ka the unknown acid is identified from the table of weak acids below.

Apparatus:

Procedure:

Titration of Unknown HA with Standard NaOH

1.   Place about 200 mL of standard NaOH solution in a clean, 250 mL Erlenmeyer flask.  Record the molarity of the NaOH(aq).

2.  Clean a 50 mL burette thoroughly with tap water, then rinse it with several small portions of the standard NaOH solution, being sure to run some solution through the tip.

3.   Fill the burette above the ‘0’ mL mark, then lower the meniscus back to ‘0’.

4.  Using a volumetric pipette and a pipette pump measure 25.00 mL of unknown weak acid into a 150 mL beaker. Place the beaker on a stir plate and clamp the electrode so that it is supported in the solution.  Your instructor will assemble a sample set-up.

5.  Place a magnetic stir bar in the beaker so that it does not touch the electrode while stirring.  (When electrode is not in use for more than a few minutes, return to storage bottle.)

6.  Add 5 drops of phenol red or phenolphthalein indicator to the acid solution.

7.  Trial run:  Add NaOH in roughly 2 mL volumes until the endpoint is reached, that is, when the phenol red changes from yellow (acidic) to red (basic) or the phenolphthalein turns from colorless (acidic) to pink (basic). Record the approximate volume of NaOH used to reach this point.

Note:  The equivalence point for a weak acid vs. strong base titration is at pH >7.

8.  Perform 2 careful runs:   Add NaOH gradually (1 mL at a time) until you approach within 1 mL of the estimated equivalence point.   Then proceed much more slowly drop by drop.  After the endpoint is reached, measure 5-10 more points adding 1 mL of NaOH at a time, to see the titration curve leveling off again.

Note: With practice you should be able to deliver half drops near the end point.

9.  Plot the pH vs. the volume of NaOH added. Find the concentration of the unknown acid.

To find Ka, p Ka is determined by examining the titration curve. The negative log of the Ka is p Ka and is the same as the pH at half the equivalence point volume.  Be sure to gather some pH data around this volume. You can compare the value of pKa to those in the table to find the identity of the unknown acid.  The value of Ka is also given.

Table   Ka and  pKa Values of some Weak Acids

| Acid | Formula | Ka | pKa |
| --- | --- | --- | --- |
| Oxalic | C2H2O4 | 5.6 x 10-2 | 1.2 |
| o-Phthalic | C8H6O4 | 1.3 x 10-3 | 2.9 |
| Citric | C6H8O7 | 7.1 x 10-4 | 3.1 |
| Glycolic | C6H12O7 | 1.5 x 10-4 | 3.8 |
| Lactic | C3H6O3 | 1.4 x 10-4 | 3 |
| Ascorbic | C6H8O6 | 7.9 x 10-5 | 4.1 |
| Acetic | C2H4O2 | 1.75 x 10-5 | 4.7 |
| Propionic | C3H6O2 | 1.3 x 10-5 | 4.9 |
| Carbonic | H2CO3 | 4.5 x 10-7 | 6.3 |

Data and Results 1 (Weak acid titration)

Name(s) ________________________________________________________________

Molarity of standard NaOH: _________ M        Code number/letter of unknown acid: ______

Trial run:   equivalence point: _______ mL NaOH

Careful Runs

| Titration 1 NaOH(mL) pH NaOH(mL) pH | Titration 2 NaOH(mL) pH NaOH(mL) pH |
| --- | --- |

Equivalence point 1: _________ mL NaOH.    Equivalence point 2: _________  mL NaOH

Average of 1 & 2: __________   mL NaOH.    Concentration of acid: . __________   M

pKa (pH at half-equivalence volume): __________                 Ka: __________

Questions:

1.   Include plot with your data.  What is the pH at the equivalence point?

Explain why it isn’t 7.  Hint: Write the neutralization reaction.

2.  Use the table and list any weak acids that have a pKa close to the one you found.

Instructor’s  Guide

#13  Titration of Weak Acid

Molarity of standard NaOH: ___0.100___ M.       Code number/letter of unknown acid:

| Titration 1 pH NaOH(mL) pH NaOH(mL) | Titration 2 pH NaOH(mL) pH NaOH(mL) |
| --- | --- |
| 2.48 | 0 | 5.37 | 38 |  |  |  |  |
| 3.03 | 2 | 5.66 | 40 |  |  |  |  |
| 3.38 | 4 | 6.18 | 42 |  |  |  |  |
| 3.58 | 6 | 6.52 | 42.5 |  |  |  |  |
| 3.74 | 8 | 7.4 | 43 |  |  |  |  |
| 3.89 | 10 | 10.17 | 43.5 |  |  |  |  |
| 4.16 | 15 | 10.82 | 44 |  |  |  |  |
| 4.38 | 20 | 11.32 | 45 |  |  |  |  |
| 4.61 | 25 | 11.59 | 50 |  |  |  |  |
| 4.83 | 30 |  |  |  |  |  |  |
| 4.91 | 32 |  |  |  |  |  |  |
| 5.03 | 34 |  |  |  |  |  |  |
| 5.18 | 36 |  |  |  |  |  |  |

Equivalence point: 43.2  mL NaOH.    Concentration of acid: ____0.1______   M

pKa (pH at half-equivalence volume):  4.5                 Ka:   3 x 10-5

Questions:

1.   Include plot with your data.  What is the pH at the equivalence point?

Explain why it isn't 7.  Hint: Write the neutralization reaction.

2.  Use the table and list any weak acids that have a pKa close to the one you found.

___________________________________________________________________________

1. The pH is about 8.5 at the equivalence point.

NaOH + HAc NaAc + H2O

Acetate ion (Ac-) is basic.

2. The closest is acetic acid with a pK of 4.7.

Instructor’s Guide

Titration of Weak Acid (cont’d)

Time:  1 h

Equipment and Materials: Per group

| Items | Number | Comment |
| --- | --- | --- |
| 0.1 M NaOH(aq) | 2 L | includes trial run. |
| Labquest 2 | 1 | pH probe |
| buffers 4, 7,10 | 1 ea | for each buffer 20-mL vials |
| 250-mL Erlenmeyer flasks | 1 | for dispensing NaOH(aq) standard |
| 25.00 mL pipettes | 1 |  |
| pipette pumps | 1 |  |
| Phenol red | 3 per class | dropper bottles |
| 150-mL beakers | 6 |  |
| Kimwipes, box | 1 |  |
| stir plates | 1 |  |
| stir bars | 1 |  |
| stir bar retriever | 2 per class |  |
| funnels (plastic) | 1 | to fill burettes |
| ring stands | 1 |  |
| burettes | 1 |  |
| burette holders | 1 |  |
| wash bottles | 1 | distilled water |
| Waste bottle | 1 per class |  |
| Unknown weak acid | 1 L | Unknown weak acid is 0.1 M acetic acid |
| Safety glasses | 1 per student |  |
| Rubber gloves | 1 box per class |  |

Ideas/ Information

Unknown weak acid solution could be prepared by adding concentrated acetic acid (17 M)

to a volumetric flask and then diluting with distilled water to the mark on the flask.

| Molarity mol/L | mL con. acetic acid for 1 L solution | mL con. acetic acid for 500 mL solution |
| --- | --- | --- |
| 0.1 | 5.88 | 2.94 |

Standard NaOH solution could be prepared by adding solid NaOH to a volumetric flask

and then diluting with distilled water to the mark on the flask.

| Molarity mol/L | g NaOH for 1 L solution | g NaOH 500 mL solution |
| --- | --- | --- |
| 0.1 | 4 | 2 |